|  |  |  |
| --- | --- | --- |
| **Parts Needed List** | | |
| **Part Number** | **Description** | **Picture** |
| EW-45505-82 | Adapter, nylon, male luer to ¼-28 thread 25/pack |  |
| EW-45502-56 | Female luer tee, Nylon, 25/pack |  |
| UX-45502-26 | Cole-Parmer Female luer x female luer elbow, Nylon, 25/pk |  |
| EW-45502-04 | Female luer x 1/8” hose barb adapter, Nylon 25/pack |  |
| EW-45502-02 | Female luer x 3/32” hose barb adapter, Nylon 25/pack |  |
| EW-45505-04 | Male luer with lock ring x 1/8” hose barb adapter, Nylon, 25/pack |  |
| EW-45502-00 | Female luer x 1/16” hose barb adapter, Nylon, 25/pack |  |
| EW-96460-26 | 2-stop Tygon E-lab, Tubing, 0.89 mm, 12/pack |  |
| EW-96460-30 | 2-stop Tygon E-lab, Tubing, 1.14 mm, 12/pack |  |
| EW-06424-67 | C-Flex Tubing, 1/8” ID x ¼” OD, 25 ft/pack |  |
| 00945Q-2 | Omnifit Q-series two-hole bottle cap |  |
| 008T32-150-10 | Tubing, PTFE, 1/8” (3.2 mm) OD x 1.55 mm ID, 10 M |  |
| E514116 or B01A29F1R0 | Neoprene Rubber Fender Washers ½” OD x ¼” ID x 1/16” Thickness (100 pack) |  |
| Z553905 | Precision Seal Rubber Septa |  |
| BA-371191083 | Stir Bar, Magnetic, PTFE, White Flea Micro, 8mm x 3mm |  |
| AO-45502-22 | Cole-Parmer Female luer x Female Luer Adapter, Nylon, 25/pk |  |
| 1365736 or B0044F59N0 | Loctite Heavy Duty Epoxy Quick Set 8-Fluid Ounce Bottle |  |
| 12090 | Male to Male Luer Lock Connector |  |